## READ ME
Notes to accompany draft River Basin Management Plans Consultation WFD and CSM water quality standards for water bodies within riverine Special Areas of Conservation
This dataset is part of the consultation on the draft River Basin Management Plans for the third cycle (2021-2027). The standards are draft and are part of the consultation unless specified in the site Core Management Plans. (currently published, as of September 2020, are some water quality standards for the Rivers Wye, Teifi and Cleddau SACs).
Background
Under WFD Regulations 2017 rivers are assigned as being water bodies which are a manageable unit of the whole or part of the river. Currently in the second River Basin Management Planning cycle (2015-2021) we have 717 river water bodies and apply water quality standards to these water bodies derived in the statutory WFD (Standards and Classification) Directions (England and Wales) 2015. In this spreadsheet these are referred to as WFD standards. Prior to being published in the statutory Directions the standards will have been consulted externally via the UK Technical Advisory Group and then approved by Defra and Welsh Government prior to publication in the Directions. The aim for the river water bodies under WFD is to meet Good or better overall status. Under the Habitats Regulations 2017 several rivers have been designated as Special Area of Conservation (SACs) due to the presence of various qualifying features (e.g. Ranunculion river habitat, Atlantic salmon, pearl mussels etc.) meeting the requirements of the Directive. In Wales we have 8 rivers designated as SACs (Afonydd Cleddau, River Dee and Bala Lake, Afon Eden - Cors Goch Trawsfynydd, Afon Gwyrfai a Llyn Cwellyn, Afon Teifi, Afon Tywi, River Usk, River Wye) and one river which flows through a larger woodland site (Afon Glaslyn in Meirionnydd Oakwoods and Bat Sites). For management purposes these have been split into management units where we assign specific actions. However, a programme of work is underway to use WFD water bodies as units for rivers in order to simplify management and reporting. Water quality standards for these SAC rivers are set via agreement at a UK level in the JNCC Common Standards Monitoring (CSM) guidance and then, in Wales, applied when published in a Core Management Plan (CMP) for each site. This spreadsheet outlines the most stringent standard where applicable. This is for rivers in political Wales only.
Setting of the standards
Dissolved Oxygen (DO, 10%ile, %saturation)
For DO the 85% (10%ile) standard under CSM is always more stringent as the tightest standard under WFD is 80% (10%ile).
Biochemical Oxygen Demand (mean, mg/L)
For BOD the 1.5mg/l (mean) standard under CSM is always more stringent than the WFD 90%ile standard for high or good status. It is possible to convert the CSM mean to a 90%ile. This is calculated to be 2.6mg/l which is below the 3 or 4 mg/l standard for high or good status respectively under WFD.
Total Ammonia (90%ile)
For the 90%ile total ammonia target the CSM standard is 0.25mg/l. However, if High Status under WFD is being reached for a water body for river types 1, 2, 4 or 6 for ammonia (type 1 in Table 1b) as cited in the Directions then the more stringent WFD standard at 0.2mg/l is applied. The reasons for the standards for each water body are provided in the spreadsheet and explained below.
CSMa = water body is not achieving high status for ammonia and therefore the CSM standard of 0.25mg/l is applied.
CSMb = water body is achieving high status for ammonia but is classified as type 2 for ammonia (Type_DO2_NH4 in spreadsheet).
WFD high = water body is achieving high status for ammonia and is classified as type 1 for ammonia (Type_DO2_NH4 in spreadsheet).
Un-ionised ammonia (95%ile, mg/L)
For un-inonised ammonia, the 95%ile standard under CSM of 0.025 is used as there is no equivalent standard under WFD.
Trophic Diatom Index (EQR)
Trophic diatom index (TDI) standard should be equivalent to WFD high ecological status using the current version of the diatom classification tool (via light microscopy).
Acid Neutralising Capacity (ANC)
ANC standards only apply in water bodies classed as siliceous or peat water bodies. The CSM standard of >80 is used, which is equivalent to the high status boundary under WFD so is the most stringent or equal if high status is being achieved already in a water body.
pH
pH standards only apply in water bodies classed as siliceous or peat water bodies. pH standard for clear waters with DOC<10mg/l is mean >6.54, pH standard for humic waters with DOC>10mg/l is mean <5.1.
Other Pollutants
No target included in the Core Management Plans for Other Pollutants.
Phosphorus standard (mg/L)
For reactive phosphate the standards set depend on the typology of the water body so the relationship is more complex. In 73% of river water bodies the Habitats Directive phosphate standard is more stringent than the equivalent WFD standard, although in most cases the difference is small. The reasons for the standards for each water body are provided in the spreadsheet and explained below.
CSM (max allowable) = phosphate standard taken from Table 6, page 13 in the CSM guidance for rivers (JNCC 2016), according to the typology for that particular waterbody.
CSM (near natural) = phosphate standard taken from Table 5, page 13 in the CSM guidance for rivers (JNCC 2016), according to the typology for that particular waterbody.
WFD good = phosphate standard taken from WFD upper boundary for good for that particular waterbody.
WFD high = phosphate standard taken from WFD upper boundary for high for that particular waterbody.
Pearl mussel = phosphate standard for freshwater pearl mussel, Margaritifera margaritifera, where a standard of 0.005 mg l-1 was applied, based on the CSM guidance for freshwater fauna (JNCC, 2015)
Joint Nature Conservation Committee 2016 Common Standards Guidance for Rivers. Version September 2016. Available online at http://jncc.defra.gov.uk/pdf/CSM_rivers_Sept2016.pdf
Joint Nature Conservation Committee 2015 Common Standards Monitoring Guidance for Freshwater Fauna. Version October 2015. Available online at: http://jncc.defra.gov.uk/pdf/CMS_Freshwaterfauna_201510.pdf

## WQStandards_CMPs
RBD_Name | Political | Water Body ID | Water Body Name | SAC Name | Dissolved Oxygen (10%ile, %saturation) | Biochemical Oxygen Demand (mean, mg/L) | Total Ammonia (90%ile, mg/L) | Reason for total ammonia target | Type_DO2_NH4 | Un-ionised ammonia (95%ile, mg/L) | Trophic Diatom Index (EQR) | Acid Neutralising Capacity (ANC) | pH | Phosphorus standard (mg/L) | Phosphorus standard (µg l-1) | Reason for phosphorus standard | CSM_Alt_type | CSM_Alk type | River size | ACFNRISK
Severn | Cymru | GB109055042340 | Afon Bidno - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably at risk
Severn | Cymru | GB109055041880 | Afon Cammarch - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | At risk
Severn | Cymru | GB109055042190 | Afon Chwefru - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109056033080 | Afon Crai - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109056033020 | Afon Cynrig - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055042260 | Afon Elan - Caban-coch Rsvr to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably at risk
Severn | Cymru | GB109055041890 | Afon Garth Dulas - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | At risk
Severn | Cymru | GB109055041870 | Afon Gwesyn - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109056033030 | Afon Hydfer - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Not at risk
Severn | Cymru | GB109055036950 | Afon Llynfi - conf Dulas Bk to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055042310 | Afon Marteg - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.013 | 13 | WFD high | high Alt >80m | low Alk <50mgl | river | Not at risk
Severn | Cymru | GB109056033070 | Afon Tarell - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.020 | 20 | WFD high | high Alt >80m | high Alk >50mg/l | river | Not at risk
Severn | Cymru | GB109056040020 | Afon Yscir - conf Yscir Fechan to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.018 | 18 | WFD high | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056040070 | Afon Yscir - source to conf Yscir Fechan | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.018 | 18 | WFD high | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061038690 | Anghof - headwaters to conf with Western Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.037 | 37 | WFD good | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042110 | Aran - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055037060 | Bach Howey Bk - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055042120 | Bachell Bk - source to conf Clywedog Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110062039250 | Brefi - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055037160 | Builth Dulas Bk - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109056033000 | Caerfanell - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042130 | Camddwr Bk - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.013 | 13 | WFD high | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055042370 | Camnant Brook - source to confluence R Edw | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Western Wales | Cymru | GB110061031180 | Camrose Brook - headwaters to conf with W. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110061031330 | Cartlett Brook - HW to conf with W. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.25 | CSMa | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Dee | Cymru | GB111067051910 | Ceiriog - confluence Dee to Teirw | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Not at risk
Dee | Cymru | GB111067051610 | Ceiriog - upstream of Teirw | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.01 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062039140 | Cerdin - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Not at risk
Western Wales | Cymru | GB110062039110 | Ceri - Dulas to conf Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062039190 | Ceri - headwaters to conf Dulas | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109056040030 | Cilieni - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | WFD high | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055036680 | Cledan - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110061038680 | Cleddau North - H'waters to conf with W. Cled | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062039220 | Clettwr - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | WFD good | low Alt <80m | low Alk <50mgl | river | Probably at risk
Severn | Cymru | GB109055037030 | Clettwr Bk - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055042070 | Clywedog Bk - conf Bachell Bk to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042090 | Clywedog Bk - source to conf Bachell Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably at risk
Severn | Cymru | GB109056033040 | Cwm Treweryn - source to River Senni | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110062039041 | Cych - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | WFD high | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Dee | Cymru | GB111067052240 | Dee - Alwen to Llyn Tegid | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably at risk
Dee | Cymru | GB111067052060 | Dee - Ceiriog to Alwen | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Not at risk
Dee | Cymru (WB polygon extends into England) | GB111067057080 | Dee - Chester Weir to Ceiriog | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.050 | 50 | CSM (max allowable) | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061030690 | Deepford Brook - headwaters to conf with Syfynwy | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055037050 | Duhonw - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Western Wales | Cymru | GB110062039010 | Dulas - headwaters to confluence with Cych | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | WFD high | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110062039240 | Dulas - headwaters to conf Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055036920 | Dulas Bk - source to conf Afon Llynfi | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061038290 | E. Cleddau - conf with Wern to conf with Syfynwy | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.015 | 15 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110061030670 | Eastern Cleddau - conf with Syfynwy to tidal limit | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (near natural) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110061038320 | Eastern Cleddau - headwaters to conf with Wern | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | At risk
Western Wales | Cymru | GB110064048750 | Eden - lower | Afon Eden - Cors Goch Trawsfynydd | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.005 | 5 | Pearl mussel | high Alt >80m | low Alk <50mgl | river | Probably at risk
Western Wales | Cymru | GB110064054630 | Eden - upper | Afon Eden - Cors Goch Trawsfynydd | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.005 | 5 | Pearl mussel | high Alt >80m | low Alk <50mgl | river | Not at risk
Severn | Cymru | GB109055037130 | Edw - conf Camnant Bk to conf Clas Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055037080 | Edw - conf Clas Bk to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Not at risk
Severn | Cymru | GB109055042200 | Edw - source to conf Colwyn Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110065053910 | Glaslyn - Nanmor to Colwyn | Coedydd Derw a Safleoedd Ystlumod Meirion / Meirionnydd Oakwoods and Bat Sites | 85 | 1.5 | 0.25 | CSMa | 1 | 0.025 | WFD high | >80 | >6.54 | 0.013 | 13 | WFD high | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110065053860 | Glaslyn - tidal to Afon Croesor | Coedydd Derw a Safleoedd Ystlumod Meirion / Meirionnydd Oakwoods and Bat Sites | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.019 | 19 | WFD high | low Alt <80m | low Alk <50mgl | river | Not at risk
Western Wales | Cymru | GB110062039230 | Grannell - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062043490 | Groes - headwaters to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109056032980 | Grwyne Fawr - conf Grwyne-Fechan to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.028 | 28 | WFD high | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056040000 | Grwyne Fawr - source to conf Grwyne-Fechan | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | >80 | >6.54 | 0.007 | 7 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109056039960 | Grwyne-Fechan - source to conf Grwyne Fawr | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055042170 | Gwenlas Bk - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110065054190 | Gwyrfai - downstream of Cwellyn | Afon Gwyrfai a Llyn Cwellyn | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.013 | 13 | WFD high | high Alt >80m | low Alk <50mgl | river | Not at risk
Western Wales | Cymru | GB110065054191 | Gwyrfai - upstream of Cwellyn | Afon Gwyrfai a Llyn Cwellyn | 85 | 1.5 | 0.25 | CSMa | 1 | 0.025 | WFD high | >80 | >6.54 | 0.005 | 5 | CSM (near natural) | high Alt >80m | low Alk <50mgl | headwater | Probably at risk
Severn | Cymru | GB109056040060 | Honddu - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055041900 | Howey Bk - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109055036760 | Irfon - conf Afon Gwesyn to conf Cledan | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Not at risk
Severn | Cymru | GB109055037090 | Irfon - conf Cledan to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042270 | Ithon - conf Camddwr Bk to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109055042140 | Ithon - conf Gwenlas Bk to conf Camddwr Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055042150 | Ithon - conf Llaethdy Bk to conf Gwenlas Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055042180 | Ithon - source to conf Llaethdy Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055042160 | Llaethdy Bk - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110061030680 | Longford Brook - HW to conf with E. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (near natural) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110064048710 | Mawddach - lower | Afon Eden - Cors Goch Trawsfynydd | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.01 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably at risk
Dee | Cymru | GB111067051960 | Meloch | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055041960 | Mithil Bk - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Dee | Cymru | GB111067051990 | Mynach | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109056040040 | Nant Bran - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056033010 | Nant Menasgin - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061038660 | Nant y Bugail - headwaters to conf with Cleddau N. | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042080 | Nantmel Dulas - source to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110061030660 | Narbeth Brook - headwaters to conf with E. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.034 | 34 | WFD high | low Alt <80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109056039990 | Rhiangoll - source to conf R Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.030 | 30 | CSM (near natural) | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061031190 | Rudbaxton Water - HW to conf with W. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055036990 | Scithwen Bk - source to conf R Wye | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Severn | Cymru | GB109056033050 | Senni - source to conf River Usk | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably at risk
Western Wales | Cymru | GB110061031350 | Spittal Brook - headwaters to conf with W. Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.25 | CSMa | 1 | 0.025 | WFD high | >80 | >6.54 | 0.030 | 30 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | headwater | Not at risk
Western Wales | Cymru | GB110061038300 | Syfynwy - headwaters to Llys-y-fran | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | At risk
Western Wales | Cymru | GB110061030700 | Syfynwy - Llys-y-fran to conf with E Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.039 | 39 | WFD good | low Alt <80m | low Alk <50mgl | river | Probably at risk
Western Wales | Cymru | GB110062038980 | Talog - headwaters to confluence with Tyweli | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110062043501 | Teifi - conf Fflur to conf Brennig | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Not at risk
Western Wales | Cymru | GB110062043566 | Teifi - Afon Brennig to Afon Dulas | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062043563 | Teifi - Afon Ceri to estuary | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | WFD high | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062043564 | Teifi - Afon Clettwr to Afon Ceri | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | WFD high | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110062043565 | Teifi - Afon Dulas to Afon Clettwr | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably at risk
Western Wales | Cymru | GB110062043540 | Teifi - headwaters to confluence with Meurig | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | At risk
Severn | Cymru | GB109055036690 | Tirabad Dulas - source to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably not at risk
Severn | Cymru | GB109055036970 | Triffrwd - source to Dulas | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | headwater | Probably not at risk
Dee | Cymru | GB111067051900 | Tryweryn - Dee to Mynach | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Dee | Cymru | GB111067051980 | Tryweryn - Mynach to Llyn Celyn | Afon Dyfrdwy a Llyn Tegid / River Dee and Bala lake | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably at risk
Western Wales | Cymru | GB110062039020 | Tyweli - confluence with Talog to confluence with Teifi | Afon Teifi / River Teifi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.034 | 34 | WFD good | low Alt <80m | low Alk <50mgl | river | Probably at risk
Western Wales | Cymru | GB110060036350 | Tywi - conf with Doethie to conf with Llandovery Bran | Afon Tywi / River Tywi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.013 | 13 | WFD high | low Alt <80m | low Alk <50mgl | river | At risk
Western Wales | Cymru | GB110060029290 | Tywi - confluence with Cothi to spring tidal limit | Afon Tywi / River Tywi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.021 | 21 | WFD high | low Alt <80m | low Alk <50mgl | large river | Probably not at risk
Western Wales | Cymru | GB110060036250 | Tywi - conf with Llandovery Bran to conf with Cothi | Afon Tywi / River Tywi | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (near natural) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109056039980 | Usk - conf Afon Hydfer to conf Afon Senni | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109056040081 | Usk - conf Afon Senni to conf Afon Crawnon | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.025 | 25 | CSM (max allowable) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056026890 | Usk - conf Olway Bk to New Br | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.050 | 50 | CSM (max allowable) | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056040083 | Usk - conf R Gavenny to conf Olway Bk | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.050 | 50 | CSM (max allowable) | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056039970 | Usk - source to conf Afon Hydfer | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.015 | 15 | CSM (near natural) | high Alt >80m | high Alk >50mg/l | river | Probably not at risk
Severn | Cymru | GB109056040082 | Usk conf Afon Crawnon to conf Gavenny R | River Usk / Afon Wysg | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.050 | 50 | CSM (max allowable) | low Alt <80m | high Alk >50mg/l | river | Probably not at risk
Western Wales | Cymru | GB110061031340 | W Cleddau - Anghof conf to Cartlett Brook conf | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Probably not at risk
Western Wales | Cymru | GB110061038670 | W Cleddau - headwaters to conf with Cleddau North | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.015 | 15 | CSM (near natural) | low Alt <80m | low Alk <50mgl | headwater | Probably not at risk
Western Wales | Cymru | GB110061038310 | Wern - headwaters to conf with Eastern Cleddau | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater | Probably at risk
Western Wales | Cymru | GB110061038651 | Western Cleddau - Cleddau North to Anghof conf | Afonydd Cleddau / Cleddau Rivers | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.040 | 40 | CSM (max allowable) | low Alt <80m | low Alk <50mgl | river | Not at risk
Severn | Cymru | GB109055042320 | Wye - conf Afon Bidno to conf Afon Marteg | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042250 | Wye - conf Afon Elan to conf R Ithon | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.010 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042330 | Wye - conf Afon Tarenig to conf Afon Bidno | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.01 | 10 | CSM (near natural) | high Alt >80m | low Alk <50mgl | river | At risk
Severn | Cymru | GB109055037115 | Wye - conf R Irfon to Scithwen Bk | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.016 | 16 | WFD high | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109055042280 | Wye - conf to conf Afon Marteg to conf Afon Elan | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.020 | 20 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | river | Not at risk
Severn | England (WB polygon extends into Cymru) | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | River Wye / Afon Gwy | 85 | 1.5 | 0.25 | CSMb | 2 | 0.025 | WFD high | n/a | n/a | 0.039 | 39 | WFD high | low Alt <80m | high Alk >50mg/l | large river | NA
Severn | England (WB polygon extends into Cymru) | GB109055037116 | Wye - Scithwen Bk to Brewardine Br | River Wye / Afon Gwy | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.02 | 20 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | river | NA
Severn | Cymru | GB109055037150 | Wye (Avon Gwy) - conf R Ithon to conf R Irfon | River Wye / Afon Gwy | 85 | 1.5 | 0.25 | CSMa | 1 | 0.025 | WFD high | >80 | >6.54 | 0.015 | 15 | WFD high | high Alt >80m | low Alk <50mgl | river | Probably not at risk
Severn | Cymru | GB109056040050 | Yscir Fechan - source to conf Afon Yscir | River Usk / Afon Wysg | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | n/a | n/a | 0.018 | 18 | WFD high | high Alt >80m | high Alk >50mg/l | river | Probably at risk
Western Wales | Cymru | GB110064048740 | Wen (Mawddach) | Afon Eden - Cors Goch Trawsfynydd | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.01 | 10 | CSM (max allowable) | high Alt >80m | low Alk <50mgl | headwater
Western Wales | Cymru | GB110064054610 | Crawcwellt South | Afon Eden - Cors Goch Trawsfynydd | 85 | 1.5 | 0.2 | WFD high | 1 | 0.025 | WFD high | >80 | >6.54 | 0.005 | 5 | CSM (near natural) | high Alt >80m | low Alk <50mgl | headwater